## MAGUNAS MARAGWA (Initial Scope)
LIQUID TELECOM KENYA LTD
AERIAL & UNDERGROUND FIBER INSTALLATION RATE CARD
| MAGUNA MARAGWA | DATE: | 17/8/2024
S.NO | DESCRIPTION | UNIT | QTY | RATE (KSH) | TOTAL
Part 1 | Civil Works Material Supply
| Supply PVC Pipe (OD= 4 inch) for Road Crossing (6MTRS) | pcs | 0 | 1500 | 0
| Supply Steel Pipe (OD= 4 inch) for Road Crossing (6MTRS) | pcs | 0 | 12000 | 0
| Supply [& Inspection] 1-WAY HDPE Pipe and Accessory materials | m | 0 | 90 | 0
| Supply [& Inspection] 2-WAY HDPE Pipe and Accessory materials | m | 0 | 180 | 0
| Supply [& Inspection] 4-WAY HDPE Pipe and Accessory materials | m | 0 | 360 | 0
| Supply of Flex [0.5m of hole] | m | 5 | 54 | 270
| Supply Warning Tape | m | 2 | 6.2 | 12.4
| Supply of HD PVC 1" Pipes for Protection on Walls (3MTRS) | pcs | 13 | 300 | 3900
| Supply of Steel Pipes for Protection on Walls (6MTRS) | pcs | 0 | 1800 | 0
| Supply of Approved Wooden Pole (8m 5/6") | pcs | 3 | 8000 | 24000
| Supply of Approved Wooden Pole (10m 6/7") | pcs | 2 | 12000 | 24000
| Supply of Approved Wooden Pole (12m 6/7") | pcs | 0 | 16000 | 0
| Transportation of Approved Wooden Poles (Per Pole) Upto 9 Pieces | pcs | 5 | 3000 | 15000
| Transportation of Approved Wooden Poles (Lot - 10 Poles) | lot | 0 | 25000 | 0
| Supply of ADSS J-hook Suspension Clamp | pcs | 0 | 405.3 | 0
| Supply of ADSS Anchor Suspension Clamp | pcs | 0 | 758.6 | 0
| Supply of ADSS Dead End Suspension Clamp | pcs | 0 | 798 | 0
| Supply of Universal Pole Bracket (UPB) with Straps | set | 0 | 400.7 | 0
| Supply of Slack Cable Storage Bracket | pcs | 0 | 3300 | 0
| Supply of Pole Hardware Support System Stay Block | pcs | 0 | 700 | 0
| Supply of Pole Hardware Support System (Stay Bracket, Clamp, Wire, Rod & Block) | set | 0 | 5500 | 0
Part 2 | Civil Works Services
| Preparatory Works and As-Built Documents | nb | 1 | 6500 | 6500
| Field Detailed Survey & Detailed Design | site | 1 | 5800 | 5800
| Laying PVC Pipe (OD= 4 inch) | m | 0 | 70 | 0
| Route Cleaning and Inspection of Ducts | m | 0 | 17.5 | 0
| Administrative Cost (RoW Acquisition Services) | site | 1 | 5500 | 5500
| Breaking and Sealing of Manhole | nb | 0 | 1000 | 0
| Core Drilling | nb | 0 | 1500 | 0
Part 3 | Aerial Services
| Installation of Approved Wooden Pole (8m 5/6") (Digging, Pole Erection & Ramming) | pcs | 3 | 3000 | 9000
| Installation of Approved Wooden Pole (12m 6/7") (Digging, Pole Erection & Ramming) | pcs | 2 | 3500 | 7000
| Installation of Pole Hardware Support System (Stay Bracket, Clamp, Wire, Rod & Block) | set | 3 | 3000 | 9000
| Installation of Slack Cable Storage Bracket With Associated Accessories | pcs | 3 | 1250 | 3750
| Installation of Pole Accessories: J-hook, Anchors, Dead End Support, UPBs, & other Accessoies | pcs | 34 | 2000 | 68000
| Installation Joint box for ADSS cable joint (24, 48, 96 fibers, Light weight) | pcs | 0 | 1000 | 0
Part 4 | Excavation & Backfilling for Trench
| Normal Soil (D=1.2m,W= 0.3m) | m | 0 | 200 | 0
| Hard Soil / Murram (D=1.2m,W= 0.3m) | m | 2 | 250 | 500
| Breakable Rock (D= 0.8m,W= 0.3m) | m | 0 | 645 | 0
| Solid Rock | m | 0 | 845 | 0
| Concrete / Tarmac and Backfilling (Kshs 4500 per cubic meter) | m | 0 | 890 | 0
| Slab and Reinstatement | m | 0 | 1020 | 0
| Cabro and Reinstatement | m | 0 | 515 | 0
| Micro Tunnelling | m | 0 | 3000 | 0
| Horizontal Directional Drilling | m | 0 | 13000 | 0
Part 5 | Installation of HPDE , PVC & Steel Pipe/Physical distance
| Installation of 1/ 2 / 4-Way (Ways) of HDPE Pipe in trench | m | 12 | 6 | 72
| Installation of PVC Pipe on Wall | m | 40 | 8 | 320
| Installation of Steel Pipe on Wall | m | 0 | 11 | 0
Part 6 | Crossing of Culverts
| Culvert/ Drainage/ Sewer Crossing | m | 0 | 737 | 0
| River/ Bridge Crossing | m | 0 | 1795 | 0
| Supply of HD PVC Pipe for River Crossing | pcs | 0 | 1794 | 0
Part 7 | Installation of OF Cable
| Installation of FOC (By pulling) | m | 0 | 25 | 0
| Installation of FOC (ADSS) | m | 1675 | 40 | 67000
Part 8 | Rehabilitation of OFC ducts
| Rehabilitation of Ducts (Scour checks to mitigate against Soil Erosion) | m | 0 | 250 | 0
Subtotal
Part9 | Laying warning tape underground
| Laying Warning Tape underground | m | 2 | 5 | 10
Part 10 | Construction of Manholes and Handholes
| Build Manhole and provide Cover (Cover is hard plastic filled with cement) | pcs | 0 | 6000 | 0
| Build Manhole with JF6 Footway Cover and Accessories | pcs | 0 | 15000 | 0
| Build Manhole with JF6 Carriageway Cover and Accessories | pcs | 0 | 25000 | 0
| Supply of Manhole Cover JF6 Footway | pcs | 0 | 4300 | 0
| Supply of Manhole Cover JF6 Carriage way | pcs | 0 | 7100 | 0
| Supply Handhole with Cover and Accessory | pcs | 0 | 10500 | 0
Part 11 | Optical Fiber Cable Protection
| Concrete Reinforcement -FOC Protection - HD PVC Pipe on Wall | m | 0 | 673 | 0
| Concrete Reinforcement -FOC Protection - on Rock | m | 0 | 673 | 0
Part 12 | Fiber Optic Cable Splicing, Testing & Documentation
| Splicing of Cable | core | 34 | 500 | 17000
| Testing and Commissioning of Cable | core | 6 | 400 | 2400
| Fibre Identification | core | 30 | 400 | 12000
| Mobilisation of Sites out of nearest Office Location from Site Distance Per Km | km | 0 | 35 | 0
Part 13 | Power Installation | pcs | 0 | 15000 | 0
Part 14 | Installation of 22U Cabinet | pcs | 0 | 4000 | 0
| Sub Total |  |  |  | 281034.4
| 16% VAT |  |  |  | 44965.504
| Grand Total |  |  |  | 325999.904

## MAGUNAS MARAGWA (Revised Scope)
LIQUID TELECOM KENYA LTD
AERIAL & UNDERGROUND FIBER INSTALLATION RATE CARD
|  | MAGUNA MARAGWA Route 2 | DATE: | 14/05/2025
| S.NO | DESCRIPTION | UNIT | QTY | RATE (KSH) | TOTAL
| Part 1 | Civil Works Material Supply
|  | Supply PVC Pipe (OD= 4 inch) for Road Crossing (6MTRS) | pcs | 0 | 1500 | 0
|  | Supply Steel Pipe (OD= 4 inch) for Road Crossing (6MTRS) | pcs | 0 | 12000 | 0
|  | Supply [& Inspection] 1-WAY HDPE Pipe and Accessory materials | m | 0 | 90 | 0
|  | Supply [& Inspection] 2-WAY HDPE Pipe and Accessory materials | m | 0 | 180 | 0
|  | Supply [& Inspection] 4-WAY HDPE Pipe and Accessory materials | m | 0 | 360 | 0
|  | Supply of Flex [0.5m of hole] | m | 5 | 54 | 270
|  | Supply Warning Tape | m | 4 | 6.2 | 24.8
|  | Supply of HD PVC 1" Pipes for Protection on Walls (3MTRS) | pcs | 13 | 300 | 3900
|  | Supply of Steel Pipes for Protection on Walls (6MTRS) | pcs | 0 | 1800 | 0
1 |  | Supply of Approved Wooden Pole (8m 5/6") | pcs | 1 | 8000 | 8000
|  | Supply of Approved Wooden Pole (10m 6/7") | pcs | 5 | 12000 | 60000
|  | Supply of Approved Wooden Pole (12m 6/7") | pcs | 0 | 16000 | 0
|  | Transportation of Approved Wooden Poles (Per Pole) Upto 9 Pieces | pcs | 6 | 3000 | 18000
|  | Transportation of Approved Wooden Poles (Lot - 10 Poles) | lot | 0 | 25000 | 0
|  | Supply of ADSS J-hook Suspension Clamp | pcs | 0 | 405.3 | 0
|  | Supply of ADSS Anchor Suspension Clamp | pcs | 0 | 758.6 | 0
|  | Supply of ADSS Dead End Suspension Clamp | pcs | 0 | 798 | 0
|  | Supply of Universal Pole Bracket (UPB) with Straps | set | 0 | 400.7 | 0
|  | Supply of Slack Cable Storage Bracket | pcs | 0 | 3300 | 0
|  | Supply of Pole Hardware Support System Stay Block | pcs | 5 | 700 | 3500
|  | Supply of Pole Hardware Support System (Stay Bracket, Clamp, Wire, Rod & Block) | set | 0 | 5500 | 0
| Part 2 | Civil Works Services
|  | Preparatory Works and As-Built Documents | nb | 1 | 6500 | 6500
|  | Field Detailed Survey & Detailed Design | site | 1 | 5800 | 5800
|  | Laying PVC Pipe (OD= 4 inch) | m | 0 | 70 | 0
|  | Route Cleaning and Inspection of Ducts | m | 0 | 17.5 | 0
|  | Administrative Cost (RoW Acquisition Services) | site | 1 | 5500 | 5500
|  | Breaking and Sealing of Manhole | nb | 0 | 1000 | 0
|  | Core Drilling | nb | 0 | 1500 | 0
| Part 3 | Aerial Services
|  | Installation of Approved Wooden Pole (8m 5/6") (Digging, Pole Erection & Ramming) | pcs | 1 | 3000 | 3000
|  | Installation of Approved Wooden Pole (12m 6/7") (Digging, Pole Erection & Ramming) | pcs | 5 | 3500 | 17500
|  | Installation of Pole Hardware Support System (Stay Bracket, Clamp, Wire, Rod & Block) | set | 5 | 3000 | 15000
|  | Installation of Slack Cable Storage Bracket With Associated Accessories | pcs | 4 | 1250 | 5000
|  | Installation of Pole Accessories: J-hook, Anchors, Dead End Support, UPBs, & other Accessoies | pcs | 30 | 2000 | 60000
|  | Installation Joint box for ADSS cable joint (24, 48, 96 fibers, Light weight) | pcs | 0 | 1000 | 0
| Part 4 | Excavation & Backfilling for Trench
|  | Normal Soil (D=1.2m,W= 0.3m) | m | 0 | 200 | 0
|  | Hard Soil / Murram (D=1.2m,W= 0.3m) | m | 4 | 250 | 1000
|  | Breakable Rock (D= 0.8m,W= 0.3m) | m | 0 | 645 | 0
|  | Solid Rock | m | 0 | 845 | 0
|  | Concrete / Tarmac and Backfilling (Kshs 4500 per cubic meter) | m | 0 | 890 | 0
|  | Slab and Reinstatement | m | 0 | 1020 | 0
|  | Cabro and Reinstatement | m | 0 | 515 | 0
|  | Micro Tunnelling | m | 0 | 3000 | 0
|  | Horizontal Directional Drilling | m | 0 | 13000 | 0
| Part 5 | Installation of HPDE , PVC & Steel Pipe/Physical distance
|  | Installation of 1/ 2 / 4-Way (Ways) of HDPE Pipe in trench | m | 18 | 6 | 108
|  | Installation of PVC Pipe on Wall | m | 40 | 8 | 320
|  | Installation of Steel Pipe on Wall | m | 0 | 11 | 0
| Part 6 | Crossing of Culverts
|  | Culvert/ Drainage/ Sewer Crossing | m | 0 | 737 | 0
|  | River/ Bridge Crossing | m | 0 | 1795 | 0
|  | Supply of HD PVC Pipe for River Crossing | pcs | 0 | 1794 | 0
| Part 7 | Installation of OF Cable
|  | Installation of FOC (By pulling) | m | 0 | 25 | 0
|  | Installation of FOC (ADSS) | m | 1572 | 40 | 62880
| Part 8 | Rehabilitation of OFC ducts
|  | Rehabilitation of Ducts (Scour checks to mitigate against Soil Erosion) | m | 0 | 250 | 0
Subtotal
| Part9 | Laying warning tape underground
|  | Laying Warning Tape underground | m | 4 | 5 | 20
| Part 10 | Construction of Manholes and Handholes
|  | Build Manhole and provide Cover (Cover is hard plastic filled with cement) | pcs | 0 | 6000 | 0
|  | Build Manhole with JF6 Footway Cover and Accessories | pcs | 0 | 15000 | 0
|  | Build Manhole with JF6 Carriageway Cover and Accessories | pcs | 0 | 25000 | 0
|  | Supply of Manhole Cover JF6 Footway | pcs | 0 | 4300 | 0
|  | Supply of Manhole Cover JF6 Carriage way | pcs | 0 | 7100 | 0
|  | Supply Handhole with Cover and Accessory | pcs | 0 | 10500 | 0
| Part 11 | Optical Fiber Cable Protection
|  | Concrete Reinforcement -FOC Protection - HD PVC Pipe on Wall | m | 0 | 673 | 0
|  | Concrete Reinforcement -FOC Protection - on Rock | m | 0 | 673 | 0
| Part 12 | Fiber Optic Cable Splicing, Testing & Documentation
|  | Splicing of Cable | core | 38 | 500 | 19000
|  | Testing and Commissioning of Cable | core | 6 | 400 | 2400
|  | Fibre Identification | core | 34 | 400 | 13600
|  | Mobilisation of Sites out of nearest Office Location from Site Distance Per Km | km | 0 | 35 | 0
| Part 13 | Power Installation | pcs | 0 | 15000 | 0
| Part 14 | Installation of 22U Cabinet | pcs | 0 | 4000 | 0
|  | Sub Total |  |  |  | 311322.8
|  | 16% VAT |  |  |  | 49811.648
|  | Grand Total |  |  |  | 361134.448

## Magunas Mragwa - B.Estimates
Magunas Maragwa | [6 empty] | MANHOLE |  |  |  |  | Cost for Concrete Reinstatement Materials
No. | Expense Category | Unit | QUANTITY | Unit Cost | Total Cost | Average Cost (% ) | Items | Unit | Price | Total |  | Items | Unit Price | Ratio (@10m) | Reinst _Distance | Cost | No: of Bags
1 | Transport of Casuals | Trip |  | 300 | 0 | 0% | STONES. | 39 | 60 | 2340 |  | BALLAST | 300 | 4 | 30 | 3600 | 12
2 | Transport of Inhouse Supervisor | Trip |  | 1000 | 0 | 0% | BALLAST. | 2 | 300 | 600 |  | SAND | 300 | 3 | 30 | 2700 | 9
3 | Accomodation of Supervisor | Days |  | 1000 | 0 | 0% | DIGGING | 1 | 600 | 600 |  | CEMENT. | 750 | 1 | 30 | 2250 | 3
4 | Accommodation of assistant supervisor / Rigger | Days |  | 800 | 0 | 0% | SAND. | 5 | 300 | 1500 |  | Water Proof | 150 | 1 | 0 | 0 | 0
5 | Accomodation of casuals | Days |  | 3000 | 0 | 0% | CEMENT. | 1 | 850 | 850 |  | Water | 10 | 5 | 30 | 150 | 15
6 | Supervisor Day Wage | Days |  | 1000 | 0 | 0% | MANHOLE COVERS. | 1 | 4500 | 4500 |  | TOTAL |  |  |  | 8550
7 | Assistant supervisor Day Wage | Days |  | 700 | 0 | 0% | MANHOLE CONSTRUCTION | 1 | 1200 | 1200
8 | Storage of materials | Days | 1 | 1500 | 1500 | 1.338% | TOTAL |  |  | 11590 |  | Cost for Slab Reinstatement Materials (m3)
9 | Piloting New (During trenching) | Unit | 4 | 150 | 12 | 0.01071% | [5 empty] | Items | Unit Price | Ratio (@10m) | Reinst _Distance | Cost | No: of Bags
10 | Piloting- New (During cable pulling) | Meters | 4 | 100 | 5.7143 | 0.005099% | [5 empty] | SAND | 300 | 4 | 0 | 0 | 0
11 | Normal soil | Meters |  | 100 | 0 | 0% | POWER AND CABINET INSTALLATION COST |  |  |  |  | CEMENT. | 750 | 1 | 0 | 0 | 0
12 | Hard soil / Murram | Meters | 4 | 100 | 400 | 0.3569% | Items | Unit | price | Total |  | TOTAL |  |  |  | 0
13 | Breakable Rock | Meters |  | 125 | 0 | 0% | SOCKETS. | 0 | 350 | 0
14 | Solid rock (D=0.6m,W=0.3m) | Meters |  | 135 | 0 | 0% | SPUR SWITCH. | 0 | 300 | 0
15 | Concrete reinforcement -FOC Protection - Materials Cost | Meters |  | 8550 | 0 | 0% | PATRES. | 0 | 40 | 0 |  | Cost for Cabro Reinstatement Materials (m3)
16 | MICRO tunnelling | Meters |  | 1700 | 0 | 0% | POWER CABLE. | 0 | 150 | 0 |  | Items | Unit Price | Ratio (@10m) | Reinst _Distance | Cost | No: of Bags
17 | MicRO tunnelling/ Gurundo Pits | Pits |  | 700 | 0 | 0% | ROLL BOLTS. | 0 | 60 | 0 |  | Dust | 200 | 3 | 0 | 0 | 0
18 | MICRO tunnelling team mobilization | Meters |  | 12000 | 0 | 0% | POWER SUB METER. | 0 | 1200 | 0 |  | TOTAL |  |  |  | 0
19 | Duct Laying & Backfilling | Meters | 4 | 25 | 100 | 0.08923% | Circuit Breaker | 0 | 400 | 0
20 | Cable Pulling in New trench | Meters | 88 | 10 | 880 | 0.7852% | MCB | 0 | 1200 | 0
21 | Cable Pulling- in Existing route (Inclusive of Pilot Pits) | Meters |  | 20 | 0 | 0% | Steel Rail | 0 | 50 | 0
22 | Cabro and Slab Reinstatement - Materials Cost | Meters |  | 0 | 0 | 0% | TOTAL |  |  | 0 |  | Labour/Cost for Reinstatement Scope
23 | Slab and reinstatement - Materials Cost | Meters |  | 0 | 0 | 0% | [5 empty] | Items | Unit Price | Ratio (@50m) | Reinst _Distance | Cost | No: of Casuals
24 | Ladder Hiring | Meters | 0 | 850 | 0 | 0% | [5 empty] | Day Work | 700 | 3 | 62 | 2604 | 3.72
25 | Manhole | Unit |  | 11590 | 0 | 0% | Materials for Internals
26 | Power and Cabinet | Unit |  | 0 | 0 | 0% | Items |  | Unit | Price | Total
27 | Materials for Internals | Unit | 1 | 3530 | 3530 | 3.15% | 2:FLEX. | Meter | 5 | 100 | 500
28 | Concrete reinforcement -FOC Protection - Day works Cost | Unit |  | 2604 | 0 | 0% | GI PIPE | Pcs | 0 | 1700 | 0
29 | Mason(Cabro/Slab/Concrete) Per day | Days |  | 850 | 0 | 0% | TRUNKING. | Pcs | 0 | 350 | 0
30 | Day Work | Unit | 3 | 700 | 2100 | 1.874% | CABLE TIES. | Pcs | 1 | 350 | 350
31 | Pole & Stay Pit Installation(8m, 10m, 12m) (Digging, Pole Erection & Ramming) | Unit | 11 | 510 | 5610 | 5.006% | CONTA GLUE. | Pcs | 0 | 300 | 0
32 | Stay Installation | Unit | 5 | 215 | 1075 | 0.9592% | CONDUITS. | Pcs | 14 | 120 | 1680
33 | Stay insulator Installation | Unit |  | 100 | 0 | 0% | NAILS. | Pckt | 1 | 350 | 350
34 | Installation of FOC (ADSS) | Unit | 1484 | 15 | 22260 | 19.86% | SADDLES. | Pcs | 42 | 10 | 420
35 | Supply of Approved Wooden Pole (8m 5/6") | Unit | 1 | 5800 | 5800 | 5.175% | Coupler | Pcs | 13 | 10 | 130
36 | Supply of Approved Wooden Pole (10m 6/7") | Unit | 5 | 8700 | 43500 | 38.81% | Bend | Pcs | 5 | 20 | 100
37 | Supply of Approved Wooden Pole (12m 6/7") | Unit |  | 12000 | 0 | 0% | TOTAL |  |  |  | 3530
38 | Transportation and pole erection of Approved Wooden Poles | Unit | 6 | 4000 | 24000 | 21.41%
39 | Supply of ADSS J-hook Suspension Clamp | Unit |  | 400 | 0 | 0%
40 | Supply of ADSS Anchor Suspension Clamp | Unit |  | 450 | 0 | 0%
41 | Supply of ADSS Dead End Suspension Clamp | Unit |  | 400 | 0 | 0%
42 | Supply of Universal Pole Bracket (UPB) with Straps | Unit |  | 350 | 0 | 0%
43 | Supply of Stay insulator | Unit |  | 650 | 0 | 0%
44 | Supply of Slack Cable Storage Bracket | Unit |  | 1500 | 0 | 0%
45 | Supply of Stay Wire | Meters |  | 60 | 0 | 0%
46 | Supply of Stay Rod | Unit |  | 1200 | 0 | 0%
47 | Supply of Ridges | Unit | 2 | 400 | 800 | 0.7138%
48 | Supply of Steel Strap | Meters |  | 3000 | 0 | 0%
49 | Supply of Dead End | Unit | 1 | 500 | 500 | 0.4461%
|  |  |  | TOTALS | 112072.7143 | 100%
| Contingency |  |  | 5% | 5603.6357
| Total Budget Estimate: |  |  |  | 117676.35
| Budget Estimate Margin: |  |  |  | 58.13%
N/B The percentage Marging have been calculated using the initial scope Project cost approved which was Kes: 281,034.4.
| Description | Amount
| Initial Project Cost | 281034.4
| The revised Project Cost | 311322.8
| Variation | -30288.4